ULTRADMA2 Series

High Performance PCI Bus Data Acquisition Boards

with Ultra-deep on-board Memory and 64/32-bit DMA

Models

AD8-1250DMA   Single 1.25 GSPS 8-bit A/D with 8 Gigabyte Memory

AD8-650X2DMA   Dual 800 MSPS 8-BIT A/D with 8 Gigabyte Memory and Selectable Internal/External Clock

PRELIMINARY Product Specification

July 22, 2004

Covers AD8-1250DMA Boards with Firmware rev 7/01/03 or 6/28/04

And AD8-650x2DMA Boards with Firmware rev 3/26/04

And driver release V 1.00B

PRELIMINARY

Ultraview Corporation

34 Canyon View, Orinda, CA   94563

(925) 253-2960

Fax (925) 253-4894

e-mail : support@ultraviewcorp.com

URL :  www.ultraviewcorp.com

copyright c 2003, 2004 Ultraview Corporation

TABLE OF CONTENTS

1.	Warranty	4

2.	Model Descriptions	5

2.1	MODEL AD8-1250DMA	5

2.2	MODEL AD8-650X2DMA	5

3.	Specifications	5

3.1	A/D Converter	5

3.2	General	6

3.3	Physical	6

4.	Hardware Architecture	8

4.1	Analog Input	8

4.2	External Clock Input	8

4.3	Internal Clock (model AD8-650X2DMA only)	9

4.4	Trigger Input Line (use optional)	9

4.5	Front-End Mezzanine Board Interface Connections	9

4.6	LED Indicators	10

4.6.1	ACQR LED	10

4.6.2	DMA and D64 (64-Bit DMA Transfer) LEDs	10

4.6.3	Int Clk LED (AD8-650x2DMA only)	10

4.6.4	TMP0, TMP1 LEDs (AD8-650x2DMA only)	10

4.7	LOW LEVEL SOFTWARE INTERFACE	11

4.8	PCI Configuration Header	11

4.9	ULTRADMA2 Control Register	12

4.9.1	Software_Run (write only)	13

4.9.2	Buffer_Wrap (write only)	13

4.9.3	Use_Ext_Trig (write only)	13

4.9.4	Interrupt_Enable (write only)	14

4.9.5	Interrupt_Enable (write only)	14

4.9.6	Clock_Divide_by_N (write only – model AD8-650X2DMA only)	14

4.9.7	OSSTB (write only)	15

4.9.8	OSCLK (write only)	15

4.9.9	OSDAT (write only)	15

4.9.10	DMA Block Size (write only)	16

4.9.11	Board Interrupting after A/D block completion (read only status bit)	16

4.9.12	Board Interrupting after DMA block completed  (read only status bit)	16

4.9.13	Board Stopped  (read only status bit)	17

4.9.14	DMA in progress  (read only status bit)	17

4.9.15	A/D Converter Overheating  (read only status bit)	17

4.9.16	Buffer RAM Size Bit 1, 0	17

4.10	DMA Low Starting Address Register and Read/Write control	17

4.11	DMA High Starting Address Register (For extended addressing only)	18

4.12	DMA Local Memory Block Register	18

4.13	Overlap / Board Number / Highest Board Register (write only)	18

4.13.1	Overlap Value	19

4.13.2	Highest_Board	19

4.13.3	Board_Number	19

4.14	Data Representation in Host System Memory During A/D Transfers	21

5.	Hardware Installation and Setup	22

6.	Software Installation and Setup	23

6.1	Software Installation for Windows 2000 TM  and XP TM (To be avail. TBD).	23

6.2	Software Installation for Solaris 8/9 (Sparc Platform Edition only)TM	23

Running the Example Programs Under Solaris 8 or Solaris 9TM	26

6.2.1	acquire_data.c  (Acquire analog data and store it in board’s 8GB buffer), and then store the buffer’s data to disk.	26

6.2.2	acquire_data2.c  (Acquire analog data and store it in board’s 8GB buffer), with concurrent dumping of the buffer’s data to disk.	27

6.2.3	pre_post_trigger.c  (Acquire data continuously into board’s buffer, stop acquiring after user “trigger” and store data pre and post trigger data.	28

6.2.4	Two-board concurrent operation using acquire_data.c	28

6.2.5	digosc (digital oscilloscope)	29

6.2.6	TBD - digosc2brd (digital oscilloscope for two-board AD8-1250DMA ganged installations)	30

7.	APPENDIX 1 – Installing AD8-SPLIT2/4 Clock/Trigger Splitter	31

8.	APPENDIX 2 – Installing the legacy Solaris software package	33

8.1	Software Installation for superseded 12/03/03 version (V1.01) of software package for Solaris 8/9 (Sparc Platform Edition only)TM	33

Running the Example Programs in the legacy (superseded) 12/03/03 V1.01 software package  Under Solaris 8 or Solaris 9TM	34

8.1.1	fill_board  and  fill_board650x2  (Acquire analog data and store it in board’s 8GB buffer)	35

8.1.2	dump_board (dump analog data to disk from board’s 8GB buffer)	36

8.1.3	Two-board concurrent operation using fill_board and dump_board	36

8.1.4	acquire_dma_data (Acquire data to disk file of any length)	37

8.1.5	digosc100e (digital oscilloscope, for model AD8-1250DMA only)	38

8.1.6	digosc650x2 (digital oscilloscope, for model AD8-650X2DMA only)	38

8.1.7	digosc2brd (digital oscilloscope for two-board AD8-1250DMA ganged installations)	39

# Warranty

Ultraview Corporation hardware, software and firmware products are warranted against defects in materials and workmanship for a period of two (2) years from the date of shipment of the product.   During the warranty period, Ultraview Corporation shall, at its option, either repair or replace hardware, software or firmware products which prove to be defective.  This limited warranty does not cover damage caused by misuse or abuse by customer, and specifically excludes damage caused by the application of excessive voltages to the inputs and/or outputs of data acquisition boards.

While Ultraview Corporation hardware, software and firmware products are designed to function in a reliable manner, Ultraview Corporation does not warrant that the operation of the hardware, software or firmware will be uninterrupted or error free.  Ultraview products are not intended to be used as critical components in life support systems, aircraft, military systems or other systems whose failure to perform can reasonably be expected to cause significant injury to humans.  Ultraview expressly disclaims liability for loss of profits and other consequential damages caused by the failure of any product, and recommends that customer purchase spare units for applications in which the failure of any product would cause interruption of work or loss of profits, such as industrial, shipboard or military equipment.  In no way will Ultraview Corporation’s liability exceed the amount paid by the customer for the product.

THIS LIMITED WARRANTY IS IN LIEU OF ALL OTHER WARRANTIES EXPRESSED OR IMPLIED.  THE WARRANTIES PROVIDED HEREIN ARE BUYER’S SOLE REMEDIES.  IN NO EVENT SHALL ULTRAVIEW CORPORATION BE LIABLE FOR DIRECT, SPECIAL, INDIRECT, INCIDENTAL OR CONSEQUENTIAL DAMAGES SUFFERED OR INCURRED AS A RESULT OF THE USE OF, OR INABILITY TO USE THESE PRODUCTS.  THIS LIMITATION OF LIABILITY REMAINS IN FORCE EVEN IF ULTRAVIEW CORPORATION IS INFORMED OF THE POSSIBILITY OF SUCH DAMAGES.

Some states do not allow the exclusion or limitation of incidental or consequential damages, so the above limitation and exclusion may not apply to you.  This warranty gives you specific legal rights, and you may also have other rights which vary from state to state.

# Model Descriptions

The ULTRADMA2 series of data acquisition and control boards are complete high-speed A/D systems on a single full-size PCI bus card.   Due to the height of large on-board 8GB acquisition memory SDRAM DIMMs, the adjacent PCI slot must be left empty, causing each ULTRADMA2 board to occupy a total of two PCI slots.  Designed for low jitter operation for military, scientific, medical and industrial applications these boards function in 64-bit PCI bus systems using supplied drivers for Solaris 8 or 9  Sparc Platform EditionTM.   Two, three or four ULTRADMA2 boards may be ganged together to run concurrently and start in sync when triggered a common TTL trigger, thereby acquiring multiple channels simultaneously, using the AD8-SPLIT2 (2 boards) or AD8-SPLIT4 (up to 4 boards) clock/trigger splitters.

## MODEL AD8-1250DMA

Model AD8-1250DMA contains a 1.25 gigasample/second 8 bit A/D, 8 GB of  on-board SDRAM memory and the ability to transfer data directly into the computer system’s memory at up to 320 MB/s on 64-bit PCI systems.  Sampling is controlled by an external clock input, which may be in the frequency range between 20 MHz and 1250 MHz.   Multiple boards may be configured to acquire either concurrently, for more simultaneous acquisition channels, or sequentially, with an automatic overlap selectable from 0 to nearly 2GB, in 512KB steps, for longer record length.

## MODEL AD8-650X2DMA

Model AD8-650X2DMA  is similar to the AD8-1250DMA, but contains two simultaneous-sampling A/D channels, each capable of sampling at up to 800 MSPS.   Additionally, the AD8-650X2DMA has both an external clock input and an on-board internal clock that is software selectable to allow sampling at 640MSPS, 320MSPS, 160MSPS, 106.66MSPS, 80MSPS, 64MSPS, 53.33MSPS, 45.714MSPS, 40MSPS, 35.55MSPS, 32MSPS, … , 20MSPS, …, 10MSPS or 5MSPS.   Sampling may either be controlled by this internal clock, or by a 20 to 800MHz external clock.   The external clock may also be internally divided down just as the internal timebase can, as described above.

# Specifications

## A/D Converter

Number of Input Channels:			1 for AD8-1250DMA, 2 for AD8-650X2DMA

A/D converter resolution:			8 Bits

Signal-to-noise Ratio 				42 dB

Analog input range:				-350mV to +350mV - DO NOT EXCEED 800mV!

Analog Input impedance:			50 ohms || 4pF

Analog Input bandwidth 				DC to 1.6GHz minimum (-3dB BW)

Input connectors:

Analog Input: 				Two SMA connectors, allowing differential input.

SMA connector for analog input (AD8-1250DMA)

Or one for each channel (AD8-650X2DMA)

Clock and Trigger Inputs:	Two SMA connectors, one for 0dBm clock, one for positive edge for trigger.

Sampling rate into on-board RAM:

Maximum:				1250 MSPS (AD8-1250DMA only)

Or 800 MSPS on 2 channels (AD8-650X2DMA)

Minimum:				20 MSPS (operation as low as 2MHz typically							achievable but is not guaranteed)

Clock Input AC Voltage Range

Minimum:				0.2V Peak-to-Peak

Maximum:				0.9V Peak-to-Peak

Clock Input Impedance:				50 ohms in series with 0.01uF

Optional External Trigger Input Signal (AC coupled):

Signal Type:				Positive going pulse, rise time must be < 2ns

Minimum Pulse Signal voltage:		0.7V

Maximum Pulse Signal voltage:		1.2V

Minimum pulse width:			1 millisecond (for 600MHz input clock - see text)

Maximum DC voltage range		-5V to +5V

Optional External Trigger Input Impedance:	50 ohms in series with 0.01uF

Maximum Continuous DMA Transfer Rate into host system RAM: Typical systems with 64-bit PCI bus (eg. Sun Ultra 80, E420, E450, SunBlade1000/2000/2500, AX2200, SunRay280):

Board in 33MHz 64-bit PCI Slot:			170 Million bytes/sec

Board in 66MHz 64-bit PCI Slot:			310 Million bytes/sec

On-board Memory Depth:			8 Gigasamples (8 GB) for AD8-1250DMA

Or 4 Gigasamples on each of two channels for

AD8-650X2DMA (8 Gigasamples total)

## General

Operating Temperature Range:			0 to +50 Degrees Celsius

Storage Temperature Range:			-25 to +85 Degrees Celsius

Power Requirements (board occupies 2 slots):	+5V +/-5% at 1.5A Max.  (AD8-1250DMA)

(2.1A Max for AD8-650X2DMA)

+3.3V +/-5% at 11A Max. (AD8-1250DMA

(and AD8-650X2DMA).

## Physical

All ULTRADMA2 boards are full-size 64-bit PCI bus boards which will operate in 64-bit PCI systems with either 5V or 3.3V signalling environment.  They may be installed in 33MHz or 66MHz slots.   Due to the excess height of the SDRAM DIMMS on the right side of the board, and the power dissipation of the ULTRADMA2 exceeding the maximum allowance for a single slot, it will not be possible to install another PCI board in the slot adjacent to the component side of the ULTRADMA2 board, and therefore each ULTRADMA2 board occupies the space of two slots, rather than a single slot.

If installing two ULTRADMA2 boards in a single system, the first should be installed in a 33 MHz slot, and the second should be installed in a 66MHz slot, as 33MHz and 66MHz slots are generally separate PCI buses in the system, allowing higher total DMA throughput from the two ULTRADMA2 boards.  The figure below shows the locations of the analog input, clock, and trigger SMA input connectors, and LED indicators.

To avoid overheating, all ULTRADMA2 boards must be installed either in well-cooled workstation or server chassis with 64-bit slots.  Installation in a standard workstation chassis with only 32-bit slots, is not feasible, as it will not allow sufficient power to reach the board.

Figure 1. Board layout for AD8-1250DMA and AD8-650X2DMA.  Items in parenthesis are present   in AD8-650x2DMA only.

# Hardware Architecture

ULTRADMA2 series boards are comprised of a digital section and an analog section.  The analog section contains a high speed 8-bit A/D converter (two 8-Bit A/D converters on AD8-650X2DMA), an optional internal clock (on AD8-650X2DMA only), and input-conditioning circuitry for an externally-supplied sampling clock.   The output of the A/D converter(s) consists of two eight-bit streams of interleaved data, each at up to 630 MWPS (800 MWPS on AD8-650X2DMA).

The digital section of the AD8-1250DMA includes an ECL data double-buffer, which fans the 16-bit 630 MWPS data from the A/D converter into a 32-bit ECL data stream at up to 315 MWPS, that is fed into four sets of input registers inside two high speed CPLDs (Complex Programmable Logic Devices), which together output bursts of eight 256-bit wide LVTTL data vectors at up to 74 MWPS that are fed into eight 1GB PC-133 SDRAM DIMM modules capable of storing up to 8 gigabytes of A/D input data.   Between these forward bursts of A/D data, the two above-mentioned CPLDs each provide a 32-bit burst of buffered SDRAM data to a third CPLD which implements the bus interface and the fast DMA data transfer engine and PCI master interface.

The digital section of the AD8-650X2DMA is similar to the above, but conveys a 32-bit word at up to 400 MWPS directly from the two concurrently sampling A/D converters directly into the two high speed CPLDs, thereby eliminating the need for the ECL data double-buffer.

## Analog Input

The two SMA analog input connectors on the model AD8-1250DMA can accept either single-ended analog data with a voltage range from -350 to +350 millivolts into 50or differential data with a differential voltage range from -350 to +350 millivolts, and a common-mode range which does not exceed +/-400mV.   To connect a single-ended input, merely connect the input to the “ANALOG IN +” SMA connector, and leave the “ANALOG IN –“ connector unconnected.   Under no circumstances should the signal supplied to the analog inputs of the AD8-1250DMA ever exceed +/-800 mV, or damage may occur that is not covered by the warranty.

The two SMA analog input connectors on the model AD8-650X2DMA accept two single-ended analog data inputs, with a voltage range from -350 to +350 millivolts into 50   Under no circumstances should the signal supplied to the analog inputs of the AD8-650X2DMA ever exceed +/-800 mV, or damage may occur that is not covered by the warranty.

## External Clock Input

The Clock Input must be fed with an r.f. signal having a peak-to-peak voltage of between 300 mV and 900 mV, and a frequency of between 20 and 1250 MHz (800 MHz max. for AD8-650x2DMA).   It must not have a d.c. voltage component outside the range of +/-5V.   This clock voltage must be continuously supplied, and must be present at least 100 milliseconds before sampling is started.   The impedance of the clock input is 50 ohms, a.c. coupled by an internal 0.01F capacitor.  This external clock is useful if acquisition is to be synchronized to an external source, or if multiple boards are ganged together to sample multiple channels concurrently or (using external signal splitters for clock, trigger and data inputs) to sample a single channel for a longer period of time.

## Internal Clock (model AD8-650X2DMA only)

For applications in which an external clock is not available the model AD8-650X2DMA can use its on-board internal clock.  If the internal clock is desired instead of the external clock, the software must select internal clock mode, and the external clock input must be left unconnected.   The internal clock on the board will sample at the sampling rate specified by the driver (640MSPS, 320MSPS, 160MSPS, 106.666MSPS, 80MSPS, 64MSPS, 40MSPS ….  1.25MSPS).

Note: EXTREME CARE MUST BE TAKEN TO ENSURE THAT NO VOLTAGES GREATER THAN +/-2V ARE EVER CONNECTED, EVEN MOMENTARLY, TO ANY ANALOG INPUT.

D.C. INPUT VOLTAGES EXCEEDING +/- 2 VOLTS ON THE ANALOG INPUTS WILL CAUSE OVERHEATING DAMAGE TO THE A/D CONVERTER IF PRESENT FOR OVER 10 SECONDS.

## Trigger Input Line (use optional)

The ECL-compatible Trigger signal input permits data acquisition to be started by an external devices, if the USE_EXT_TRIG bit in the control register is set to 1.   In this case, upon the application of a rising edge, of either an ECL or PECL signal level to the Trigger jack, the ULTRADMA2 will begin acquiring A/D samples (See also Software_Run bit in ULTRADMA2 Control Register).  This external trigger is useful if acquisition is to be synchronized to an external event, or if multiple boards are to be ganged together to sample multiple channels concurrently or, in conjunction with an external signal splitter, to sample a single channel for a longer time period. An Ultraview AD8-SPLIT2 clock/trigger splitter boardlet may optionally be used to convert a standard TTL trigger input signal into the fast ECL trigger required by one or more AD8-1250DMA or AD8-650X2DMA boards.

The trigger line must be driven by a fast-rising ECL signal, such as that from a MC100EL11 driver (with pulldown resistor at source), or equivalent.   To ensure reliable triggering, the rise time of the trigger pulse must be under 1ns, and preferably under 500ps.  If minimal sample uncertainty is desired using an external clock, the rising edge of trigger must not occur between 300 ps before the rising edge of the external clock and 200 ps after the rising edge of the external clock.   The minimum pulse width of the Trigger Input is 2 milliseconds if the board is driven by a 300MHz clock, or 1 millisecond if the board is driven by a 600MHz clock input, or 500 microseconds if driven by 1200MHz clock, etc.   This means that once the rising edge of trigger signal has been generated, the signal must not be brought low again for this time, or the board will experience a glitch on the acquired data.   After this minimum width time, the trigger signal may be brought low any time.

If it is desired that sampling start immediately by the driver, without the need for an external trigger input, then the USE_EXT_TRIG bit in the control register must be set to 0.

## Front-End Mezzanine Board Interface Connections

AD8-1250DMA boards may be ordered with an optional 100-pin mezzanine connector to allow special purpose I/O devices to be used, such as r.f. demodulators, FPDP interfaces or other A/D front ends.  Please contact the factory regarding custom mezzanine board development.   A  100  pin connector (see appendix A) carries data, control and power signals for mezzanine boards.

## LED Indicators

The board status LEDs on the board, described below, are useful during system integration.

### ACQR LED

The ACQR LED is used to indicate an that actual A/D sampling is occurring.  For configurations which use an external trigger, this LED can be used to indicate a successful trigger.

### DMA and D64 (64-Bit DMA Transfer) LEDs

The DMA LED is illuminated when the ULTRADMA2 board is currently performing 32 or 64-bit DMA transfers.  The D64 LED will be additionally illuminated during 64-bit transfers.

### Int Clk LED (AD8-650x2DMA only)

The INT CLK LED is illuminated when the AD8-650x2DMA board is currently running from its internal clock, rather than an externally supplied clock.

### TMP0, TMP1 LEDs (AD8-650x2DMA only)

The red TMP0 and TMP1 LEDs are illuminated brightly when the top and bottom MAX108 A/D converters, respectively, on the AD8-650x2DMA board are overheating.   If this occurs, the board needs to be installed in a system with increased airflow, or a small fan must be fastened in the system, so as to blow air directly over the two heatsinked A/D converter ICs.    These LEDs may be ignored if they are glowing only dimly, but if one or both of them are at comparable brightness to the DMA or D64 LEDs, then the board is not receiving sufficient airflow, and must be installed in a system with better cooling, or an additional fan must be installed.

## LOW LEVEL SOFTWARE INTERFACE

The ULTRADMA2 board is easy to communicate with.  In most cases, this section may be skipped, as the drivers supplied with the board automatically handle all communication with the board registers.   The best way to develop your own custom software is simply to modify the appropriate sample programs included with the board, and then recompile.  However, the following section gives an overview of how the driver calls actually control the board.

The software interface consists of a PCI type-00 Configuration Header and four board-specific registers - a Control Register and LOW DMA Address Register. Additionally, there is DMA High Start Address Register, only for use in applications in which dual address cycles are required.  Each of these groups of registers is outlined in the following sections.    Finally, ULTRADMA2 boards have a local memory block register, which specifies the starting block in the board’s 8GB buffer from which the data is to be transferred (to the PCI bus) via the DMA engine.

Accesses to CONTROL, LOCAL MEMORY BLOCK, BOARD NUMBER / HIGHEST BOARD and DMA START ADDRESS registers must be made as 32-bit transfers.

## PCI Configuration Header

ULTRADMA2 series boards support a PCI Configuration Header, whose map is shown below..

| Double Word Address | byte 3 | byte 2 | byte 1 | byte 0 |
| --- | --- | --- | --- | --- |
| 00 H | Device ID | Vendor ID |
| 04 H | Status | Command |
| 08 H | Class Code | Revision ID |
| 0C H |  | Header Type | Latency Timer |  |
| 10 H | Base Address for ULTRADMA2 control register memory |
| 14 H |  |
| 18 H |  |
| 1C H |  |
| 20 H |  |
| 24 H |  |
| 28 H |  |
| 2C H |  |  |
| 30 H |  |
| 34 H |  |
| 38 H |  |
| 3C H | Max Lat (=01 H) | Min Gnt (=01 H) | Interrupt Pin | Interrupt Line |

| Double Word Address | byte 3 | byte 2 | byte 1 | byte 0 |
| --- | --- | --- | --- | --- |
| 80 H | ULTRADMA2 Control Register |
| 84 H | DMA High Start Address Register (for dual address cycles only) |
| 88 H | --- | Overlap Value | Board Number | Highest Board |
| 8C H | DMA Low Start Address Register ¦ WRT |
| 90 H | DMA Local Memory Block Register |

The ULTRADMA2 Control Register is mapped at configuration space address 80H, as well as in memory space at Base Address + 1FFFFFC.   The DMA Low Start Address register is mapped at configuration space address  8CH, and in memory space at Base Address + 1FFFFF4. Accessing either place will read or write these register.  The optional DMA High Start Address register (which, if used must be written BEFORE the DMA Low Start Address register) is at configuration space address 84H and also in memory space at Base Address + 1FFFFF0.  The DMA Local Memory Block Register is mapped at configuration space address 90H, and also in memory space at Base Address + 1FFFFEC.   The Board Number / Highest Board register is mapped at configuration space address 88H, and also in memory at Base Address + 1FFFFF8.

## ULTRADMA2 Control Register

The ULTRADMA2 Control Register is used to configure the board and to start and stop the data acquisition process.  The table below shows the usage of the ULTRADMA2 Control Register, and these bits’ functions are outlined in the sections which follow.  The first table shows the function of the Control Register during a write.  During a read, these bits will not be read back, but instead, seven of the bit positions may be read, as shown in the second table.  The control register is never directly written or read by user programs, but is modified by calls to the driver, which are each summarized in the discussion of the respective bit.

| Bit | Function |
| --- | --- |
| 30 | DMA Blocksize 2 |
| 29 | DMA Blocksize 1 |
| 28 | DMA Blocksize 0 |
| 27 | Software_Run |
| 26 | Buffer_Wrap |
| 25 | Use_Ext_Trig |
| 24 | /Interrupt_Enable |
| 21 | Clock_Divide_by_N |
| 20 |  |
| 19 | Internal Clock mode |
| 18 | OSSTB |
| 17 | OSCLK |
| 16 | OSDAT |

Function of Control Register bits during write.

| Bit | Function |
| --- | --- |
| 30 | Board Interrupting (DMA completion) |
| 29 | Board Interrupting (A/D completion) |
| 28 | Board Stopped |
| 27 | DMA in progress |
| 26 | A/D Overheated & Shut Down |
| 25 | Buffer RAM Size Bit 1 |
| 24 | Buffer RAM Size Bit 0 |

Function of Control Register bits during read.

### Software_Run (write only)

Software_Run is used to start and stop data acquisition.  If no connection is made to the TRIGGER inputs, and the Use_Ext_Trig bit (see below) is set to 0, data acquisition begins when Software_Run is set to 1, and ends when it is set to 0.  If the Use_Ext_Trig bit is set to 1, a rising-edge TRIGGER signal must be used, Software_Run must be set to 1 before TRIGGER can start data acquisition.  Acquisition will always stop when Software_Run is set to 0.

The Software_Run bit is automatically set to 1, turning on the board, using the start_ultrad_io() driver call under Windows 2000/XP or the uvdma_set_go() call under the Solaris (UNIX) OS.

The Software_Run bit is automatically set to 0, stopping the board, using the end_ultrad_io() driver call under Windows 2000/XP or the uvpci_stop()  (or indirectly by the uvdma_stop_at_n_blocks() ) calls under the Solaris operating system.

### Buffer_Wrap (write only)

Buffer_Wrap is used to specify if the RAM buffer will be filled with A/D conversion samples a single time (storage stops when memory is filled) or if it will be treated as a cyclic buffer and filled continuously, wrapping around to the start of the buffer after the end is reached.

When set to 0, the Buffer_Wrap control bit will cause data acquisition to end when the RAM buffer has been filled once completely.

When Buffer_Wrap is set to 1, A/D data will be stored to RAM continuously.  When the buffer is filled, the next A/D sample will be stored in the first RAM data location and the buffer will be overwritten with new data.

The Buffer_Wrap bit is automatically set to 1, enabling the wraparound mode, using the setup_ultrad_io(..,ULTRAD_FILE_IO) driver call under Windows 2000 or the uvdma_set_wrap(board_fd) call under the Solaris operating system.

The Buffer_Wrap bit is automatically set to 0, disabling the wraparound mode, using the setup_ultrad_io(.., ULTRAD_INTERACTIVE_IO) driver call under Windows 2000 or the uvdma_unset_wrap(board_fd ) call under the Solaris operating system.

### Use_Ext_Trig (write only)

The Use_Ext_Trig bit, when programmed to 1, causes the ULTRADMA2  boards to hold off on starting data acquisition after the Software_Run bit is set, until a rising edge is fed into the external trigger input.    The signal levels and minimum pulse width requirements of the external trigger were described earlier in Chapter 4 of this manual.   If the Use_Ext_Trig bit is set to zero, the Trigger input is ignored, and does not need to be connected to a trigger source, and data acquisition will start immediately after the Software_Run bit is set to 1.

The Use_Ext_Trig bit is set to zero by default, enabling immediate starting of acquisition without waiting for a trigger,  or by using the set_ultrad_board_register(ultrad_board_handle, ULTRAD_USE_EXT_TRIG,FALSE) driver call under Windows 2000/XP, or the uvdma_unset_use_ext_trig(board_fd) call under the Solaris OS.

The Use_Ext_Trig bit is set to one, preventing acquisition until a trigger edge is seen, by using the set_ultrad_board_register(ultrad_board_handle, ULTRAD_USE_EXT_TRIG,TRUE) driver call under Windows 2000/XP or the uvdma_set_use_ext_trig(board_fd) call under Solaris.

### Interrupt_Enable (write only)

The  Interrupt_Enable bit is used to specify whether the ULTRADMA2 board will issue A/D interrupts as it fills its on-board RAM.  The ULTRADMA2 always uses PCIbus interrupt line INTA#.  Once acquisition begins and A/D samples are written to the RAM buffer, the ULTRADMA2 can issue an interrupt as each block of the RAM buffer is filled.  When Interrupt_Enable is set to 0, interrupts will be generated.  When set to 1, interrupts will not be generated.

The Interrupt_Enable bit is automatically set to 0, enabling interrupts, any time the board is started under Windows 2000/XP or by using  uvdma_set_int(board_fd) under the Solaris OS.   The Interrupt_Enable bit is automatically set to 1, disabling interrupts, when the board is stopped under Windows 2000/XP or by using the uvdma_unset_int(board_fd ) call under the Solaris OS.

### Interrupt_Enable (write only)

The  Interrupt_Enable bit is used to specify whether the ULTRADMA2 board will issue A/D interrupts as it fills its on-board RAM.  The ULTRADMA2 always uses PCIbus interrupt line INTA#.  Once acquisition begins and A/D samples are written to the RAM buffer, the ULTRADMA2 can issue an interrupt as each block of the RAM buffer is filled.  When Interrupt_Enable is set to 0, interrupts will be generated.  When set to 1, interrupts will not be generated.

The Interrupt_Enable bit is automatically set to 0, enabling interrupts, any time the board is started under Windows 2000/XP or by using  uvdma_set_int(board_fd) under the Solaris OS.   The Interrupt_Enable bit is automatically set to 1, disabling interrupts, when the board is stopped under Windows 2000/XP or by using the uvdma_unset_int(board_fd ) call under the Solaris OS.

### Clock_Divide_by_N (write only – model AD8-650X2DMA only)

Clock_Divide_by_N,  when set to 1, causes the board to sample at a rate that is 1/N of its using its 640MHz internal clock, or its external clock.  When set to 0 (default, divide-by-1 mode), conversions occur at the actual 640MHz internal clock frequency or at the external clock frequency, and not 1/N of these frequencies.   The value N is set serially using the serial bits OSDAT and OSCLK, described below, using the uvdma_set_serial(… ) command.

The Clock_Divide_by_N bit is automatically set to 0, enabling divide-by-1 mode, using the setup_ultrad_io(INTERNAL_CLOCK,..) driver call under Windows 2000/XP or the uvdma_unset_double_speed(board_fd) call under the Solaris operating system.

The Clock_Divide_by_N bit is set to 1, selecting divide-by-N clock operation, using the setup_ultrad_io(ULTRAD_EXTERNAL_CLOCK,..) driver call under Windows 2000/XP or the uvdma_set_double_speed(board_fd ) call under the Solaris operating system.

On the AD8-650x2DMA board, the clock period may be either be set to the same period as the incoming external clock (or the 640MHz internal clock reference, if internal clock mode is selected), or this clock can be divided by by N, where N is an even number (2,4,6,8…. 512).   The routine “setperiod(board_fd, N)”, used in various user programs in the software release, can be used to set N.   If N is set to 1, then the board samples at the same rate as the external clock or the 640MHz internal clock.  If N = 2, then the board samples at half this rate.  If N = 4, then the board samples at 1/4 this rate, if N = 6, the board samples at 1/6 the rate, etc., all the way to sampling at 1/512 of this rate if period is specified as 512.   The example program “acquire_data2.c” is a good example which illustrates the setting of the divide by N function.   For example, the command “uvdma_set_period(board_fd, 4)” in acquire_data2.c causes the 640 MHz internal clock to be divided by 4, thereby sampling both channels simultaneously at 160 MSPS.

If N is specified as 1, this routine chooses the internal divide-by-1 mode, in which the input clock is directly used as the A/D clock.  However, if period >= 2, the board is switched to the "divide-clock-by-N" mode (this is done by calling uvdma_set_double_speed(brd_fd), which sets bit 21 of the control register to 1).  In this case the bit-banger routine sends a serial stream to the control register bits, specifying sample clock divide ratio, N, using bits RSCLK and RSDAT in the control register (see OSCLK and OSDAT below) to send data to clock divider in these boards.

### OSSTB (write only)

The OSSTB, OSDAT, and OSCLK bits are intended to be used together to provide a TTL serial communication path for control of devices connected to the ULTRADMA2 mezzanine board interface.   For the model AD8-650X2DMA, these outputs are instead used to serially program the internal clock sampling rate, via the software driver.

OSSTB is a registered control bit connected to the OSSTB pin on the mezzanine connector.  It can be used as a Frame Sync bit, or other general purpose bit, for control of devices connected to the mezzanine board. or alternatively can be used as a general write-only TTL output bit.

The OSSTB bit is automatically set to 1, driving the OSSTB output to a TTL logic 1, using the set_ultrad_board_register(ultrad_board_handle,ULTRAD_RSSTB, TRUE) driver call under Windows 2000/XP or the uvdma_set_serial(…) call under the Solaris operating system.

The OSSTB bit is automatically set to 0, driving the OSSTB output to a TTL logic 0, using the set_ultrad_board_register(ultrad_board_handle, ULTRAD_RSSTB,FALSE) driver call under Windows 2000/XP or the uvdma_set_serial( …) call under the Solaris operating system.

### OSCLK (write only)

OSCLK is a registered control bit connected to the OSCLK pin on the mezzanine connector. It can be used as a Data Clock for control of devices connected to the ULTRADMA2, or as a general write-only TTL output bit.   For model AD8-650X2DMA boards, this output is instead used as the clock in the two-bit port to serially program the internal clock sampling rate, via the software driver.

The OSCLK bit is automatically set to 1, driving the OSCLK output to a TTL logic 1, using the set_ultrad_board_register(ultrad_board_handle,ULTRAD_RSCLK, TRUE) driver call under Windows 2000/XP or the uvdma_set_serial(…) call under the Solaris operating system.

The OSCLK bit is automatically set to 0, driving the OSCLK output to a TTL logic 0, using the set_ultrad_board_register(ultrad_board_handle, ULTRAD_RSCLK,FALSE) driver call under Windows 2000/XP or the uvdma_set_serial(… ) call under the Solaris operating system.

### OSDAT (write only)

OSDAT is a registered control bit connected to the OSDAT pin on the mezzanine connector, on mezzanine-equipped models.  It can be used as a Serial Data bit for control of devices connected to the ULTRADMA2 board, or alternatively can be used as a general  TTL output bit.  For the model AD8-650X2DMA board, this output is instead used as the data bit in the two-bit port to serially program the internal clock sampling rate, via the software driver.

The OSDAT bit is automatically set to 1, driving the OSDAT output to a TTL logic 1, using the set_ultrad_board_register(ultrad_board_handle,ULTRAD_RSDAT, TRUE) driver call under Windows 2000/XP or the uvdma_set_serial(…) call under the Solaris operating system.

The OSDAT bit is automatically set to 0, driving the OSDAT output to a TTL logic 0, using the set_ultrad_board_register(ultrad_board_handle, ULTRAD_RSDAT,FALSE) driver call under Windows 2000/XP or the uvdma_set_serial(… ) call under the Solaris operating system

### DMA Block Size (write only)

DMABS[2..0] specify the length of the DMA burst which will be started upon a write to the DMA Starting Address Register.  Burst lengths of 4KB to 128KB and 512KB are supported, to facilitate operation in host systems with Scatter/Gather requirements, and varying MMU page sizes.  At the end of each such burst, the ULTRADMA2 issues an interrupt on PCI signal INTA#  The following table shows all values of DMABS[2..0] and the corresponding DMA Burst Size.

| DMABS[2,1,0] | DMA Burst Length (Bytes) |
| --- | --- |
| 0,0,0 | NO DMA |
| 0,0,1 | 4,096 |
| 0,1,0 | 8,192 |
| 0,1,1 | 16,384 |
| 1,0,0 | 32,768 |
| 1,0,1 | 65,536 |
| 1,1,0 | 131,072 |
| 1,1,1 | 528,244 |

### Board Interrupting after A/D block completion (read only status bit)

This bit (bit 29), when 1, indicates that the ULTRADMA2 has issued an interrupt on PCI bus line INTA# that is pending, signifying that the ULTRADMA2 has transferred 512Kbytes of A/D data to its on-board RAM.  This bit is automatically cleared by any write to the board’s control register.  It should be checked every time the driver’s interrupt service routine is entered, to be sure that it was the ULTRADMA2 that actually issued the interrupt presently being serviced.   This interrupt does not signify that data has been transferred from the on-board RAM to host system RAM; completion of such DMA is signified by the DMA completion interrupt described directly below.

### Board Interrupting after DMA block completed  (read only status bit)

This bit (bit 30), when 1, indicates that the ULTRADMA2 has issued an interrupt on PCI bus line INTA# that is pending, signifying that it has transferred to host RAM 4K to 512KB (depending on the value written earlier to control register bits DMABS[2,1,0] ).  This bit may be cleared by a write to the board’s DMA Low Starting Address Register in which bit D1 is 1.  Bit 30 must be checked each time the driver’s interrupt service routine is entered, to determine if it was the ULTRADMA2 that actually issued the interrupt presently being serviced.   This interrupt does not signify that data has been transferred from the ULTRADMA2’s A/D converters to its local RAM; completion of such converter bursts is signified by the A/D block completion interrupt described above.

### Board Stopped  (read only status bit)

This bit (bit 28), indicates whether the ULTRADMA2 has stopped acquiring data to its on-board RAM, in the case where the Wrap bit is not set, and the board has finished acquiring an entire 8GB of data.  This bit is a 1 in this case, and 0 in all other cases, including when the board is stopped due to the Run bit being set to 0.  Its function is superfluous, as the driver will also know that the board has finished acquiring a board full of data by the fact that 16,384 A/D interrupts have been received from the board.   This bit does not in any way signify that data has been transferred from the on-board RAM to host system memory. Completion of such DMA bursts is signified by the DMA completion interrupts described above.  Therefore, the driver must not shut down the board merely because the Board Stopped bit is 1, but must also wait for all DMA bursts to be completed, to ensure that data has made the full journey to the host system memory.

### DMA in progress  (read only status bit)

This bit (bit 27), if 1 indicates that the ULTRADMA2 is still performing a DMA burst to or from system RAM.  Its function is superfluous, as the driver should know that the board has finished a DMA transfer by the fact that a DMA interrupt has been received from the board and the driver has not asked for a new DMA burst to begin.   It should be used as a "sanity check" only.

### A/D Converter Overheating  (read only status bit)

This bit (bit 26), if 1 indicates that, due to inadequate airflow provided by the host system, the A/D converter’s internal temperature has reached a temperature which will compromise its operation or reliability.   If this bit is ever seen to be high, this indicates that the ULTRADMA2 is installed in a system or slot in which there is inadequate cooling for this board.   If the system does not have large fans (4” or larger) blowing directly through the PCI board stack, then the ULTRADMA2 should be removed from the system, and installed in a larger system with better cooling, or a small fan must be added to blow air directly across the silver heatsinks of the A/D IC(s).  If, in the new system, the A/D Converter Overheated bit still goes to 1, cooling may be improved by being sure that the filler panel for the (empty) PCI slot adjacent to the component (front) side of the ULTRADMA2 board is removed.

### Buffer RAM Size Bit 1, 0

These bits (bit 25 and 24) contain a two bit binary code that tells the driver the size of the on-board buffer RAM, enabling drivers that are written for the present 8GB board to be upwards compatible with possible future versions of this board that may have 16GB, 32GB or 64GB of RAM.   The present 8GB board has {Bit 25, Bit24} = (0,0).   Future 16GB, 32GB and 64GB boards would potentially have {Bit 25, Bit24} =  (0,1), (1,0) and (1,1) respectively.

## DMA Low Starting Address Register and Read/Write control

The ULTRADMA2 Low Starting Address Register is used to start a DMA burst, in which the ULTRADMA2 board directly transfers samples into host system RAM. This register is never directly written nor read by user programs, but is modified by calls to the driver.  Bits 31 through 3 specify DMA address bits 31 through 3 (Bits 2 and 1 are always zero as  addresses must be on doubleword boundaries).  Bit 0 is also always zero for longword addresses, and is therefore available for specifying that the DMA transfer is a DMA Write (Bit 0 =1), as DMA Reads are not possible by the ULTRADMA2 boards, which contain no D/A converters.   For example, to tell the board to write a 16KB burst of data starting at PCI address 0x8456e728, we would write the number 0x8456e729 (which is 0x8456e729 | 1).  The 16K burst length would have had to have been specified earlier by writing 011 to bits DMABS[2..0].

When the ULTRADMA2 board has finished writing the burst of data to host RAM, it will issue an interrupt on PCI line INTA#.  The fact that this interrupt was issued by the ULTRADMA2, and not another board, can be determined by reading bit 30 of the control register, as discussed above.

## DMA High Starting Address Register (For extended addressing only)

The ULTRADMA2 High Starting Address Register specifies the upper 11 bits in optional 64-bit addressing mode.  This register, if used, must be written just before the DMA Low Starting Address Register (described above) is written.  Bits 31-0 specify DMA address bits 63-32, although only the first 11 bits are actually used internally, giving the board an address range of 2^^43 bytes (8 TB).  This register must not be written to for standard 32-bit addressing mode.

## DMA Local Memory Block Register

The ULTRADMA2 DMA Local Memory Block Register specifies where in the board’s 8GB local RAM the board should get its data from to do the DMA transfer.    The number in this register is the block number in the board’s local memory, in 256 byte increments.   For example, if the number is 0x00000000h, then the DMA will be starting at the very beginning of local memory.    If the number is 0x00000010h, then the DMA will start at byte 8192 (16 x 256) of the local memory.

The DMA Local Memory Block Register, if used, must be written before writing to the DMA Low Starting Address Register (see above).   Also, due to hardware limitations, a software delay of at least 5 microseconds must occur between the time at which the DMA Local Memory Block Register is written, and the time that the DMA Low Starting Address Register is written.   If the DMA Local Memory Block Register register is not used, then subsequently started DMA bursts will simply be done using sequential blocks of data from the local memory; the first DMA block will be data from the first 512K of local memory, the next DMA block will be data from the second 512K of local memory, etc.

Regardless of the address written to the DMA Local Memory Block Register, the number of bytes transferred will be that specified by the DMABS{2,1 and 0} bits in the control register.   It is not necessary for the address written to the DMA Local Memory Block Register to be a multiple of the block size specified by DMABS{2,1 and 0}.    For example, a 512KB transfer may be made with data starting at local memory block 20h (byte 16384), in which it would transfer blocks 32 (20h) through block 160 (128 block in total) of the board’s 8GB local memory buffer.

## Overlap / Board Number / Highest Board Register (write only)

This register enables multiple boards to be used either in a concurrent lock-step sampling mode or a sequential mode.   Concurrent mode, in which an identical external clock and trigger signal is fed to N boards, enables N channels to be simultaneously sampled.   Sequential mode, in which identical external clock, trigger, and analog data (using a signal splitter) is fed to N boards, enables nearly N times as long a record to be sampled.   Each sequential board actually begins sampling 512KS to 2GS before the previous board is filled, to allow a selectable number of  samples of overlap in which both boards sample concurrently, for purposes of correlation of any board-to-board delay or amplitude mismatch.   The Overlap Value field specifies the Overlap time between a successive board beginning sampling and the previous board ceasing sampling.

### Overlap Value

The Overlap Value is a 12-bit word contained in bits 27 through 16 of the longword.  The Overlap Value specifies the number of samples of overlap, in multiples of 512K bytes.   If the Overlap Value is 0, there will be no overlap, and each successive board will only begin sampling at the instant the previous board has stopped sampling.  If the Overlap Value is 1, then each successive board will begin sampling 512K samples (512KB) before the previous board has stopped sampling.  If the Overlap Value is 2, then there will be a 1MB overlap, etc.   For example, a 0.5GB overlap would be achieved if the Overlap Value is set to 010000000000 (0x400), and a 1GB overlap would be achieved with an Overlap Value of 100000000000 (0x800).

### Highest_Board

The Highest_Board is a 6-bit field (bits 5-0) which specifies the highest board number in a multi-board setup.   If only a single board is to be used, or if N boards are all to be used in parallel (sampling running concurrently and in lock-step) then Highest_Board should be set to 0 (for all boards), as the highest board is the first board, which is board 0.   If two boards are to be used in sequence, then Highest_Board should be 1 (for all boards), as the highest board is the second board, which is board 1.    Up to 64 boards (Highest_Board = 63) can be used in sequence.

### Board_Number

The Board_Number is a 6-bit field (bits 13-8) which specifies the board’s usage slot, if multiple boards are filled with data in a sequence (with an overlap that is 512KB times the Overlap Value discussed above), such as for storing data strings that are more than eight gigabytes in length.  The Board_Number is normally set to zero if only one board is used, or if multiple boards are being used to acquire data in parallel (concurrently).  However, if two boards are used to acquire data in a sequence (eg. the first board, for example, acquires the first 8GB of data, followed by the second board acquiring 8GB of data, the first board would have this value set to 0 and the second board would have a value of 1.    Board_Number is set using the set_number(board_handle, ULTRAD_SAMPLE_RATE, (USHORT) board_number) driver call under Windows 2000/XP or the ultrad_set_board_number(…) call under Solaris.

To use N identical Ultradma2 boards to store multiple sequential 8GB segments of data from a single channel, it is necessary to connect the boards as follows:

- Use a clock splitter or distribution amplifier/buffer to convert a single clock input into N identical  clock outputs, all with matching phase (within 30ps), sent along matched-length cables, to the clock input connectors of the N ULTRADMA2 boards being sequenced.  The clock splitter or distribution amplifier must provide N well-matched sine or square waveforms with amplitude between 300 and 900mV peak-to-peak into 50 ohms.  An Ultraview AD8-SPLIT2 or AD8-SPLIT4 clock/trigger splitter may be used to perform the above splitting.

- Install the boards in the host systems.   Some large hosts can accommodate multiple boards.

- Use a high-quality resistive power splitter, to convert a single data stream into N matched (within 0.1dB) data streams with matching phase (within 30ps), sent along matched-length cables, to the ANALOG INPUT+ connectors of the N ULTRADMA2 boards being sequenced.   The ANALOG INPUT- connectors should not be connected, except where the board is an AD8-650X2DMA, in which case this connector is used for the second analog input channel.

- Use an ECL or PECL-connected clock buffer chip (or an Ultraview AD8-SPLIT2/4) to provide N trigger outputs, all matched within 30ps, and sent along matched-length cables, to the trigger input connectors of the N ULTRADMA2 boards being sequenced.

- Set the Board_Number of the 1st board to 0, the 2nd board to 1,…, and the Nth board to N-1.

- Set the Highest Board to N-1, for all boards.

- Start all boards, in any sequence using the uvdma_set_go() commands.

- When the trigger signal is seen by all the boards, all boards will begin running, in lock step.  However, only the first board will begin recording data to its 8GB memory.    However, beginning 8 Gigasamples (minus the Overlap Value x 512KB) samples after the trigger, the second board will begin recording 8GB of data to its 8GB memory, and beginning 16 Gigasamples minus the [Overlap Value x 2 x 512KB] samples after the trigger, the third board will begin recording 8GB of data, etc.  This will continue until the (N-1)th board begins recording data (N-1)x8 Gigasamples minus ((N-1) x 512K x (Overlap Value) samples) after the trigger.   If the BUFFER_WRAP bit in the control register is set to 0, sampling will stop when the (N-1)th (last) board has been filled.   If the BUFFER_WRAP bit is instead set to 1, sampling will continue by wrapping around back to the first board.   This process will go on indefinitely, until stopped by the driver, with each board acquiring 8GB, and starting 8GB minus 512K x (Overlap Value) bytes after the previous board starts, so as to provide the specified sampling overlap for purposes of board-to-board splice calibration.

- Data may be read out of each board, when fully or partially filled, using read(board_fd, buffer, size) commands, as illustrated in example programs, such as acquire_data.c.

To use N identical Ultradma2 boards to store multiple parallel (concurrent) 8GB segments of data from a N channel, it is necessary to connect the boards as follows:

- Use a clock splitter or distribution amplifier/buffer to convert a single clock input into N identical  clock outputs, all with matching phase (within 30ps), sent along matched-length cables, to the clock input connectors of the N ULTRADMA2 boards being sequenced.  The clock splitter or distribution amplifier/buffer must provide N well-matched sine or square waveforms with amplitude between 300 and 900mV peak-to-peak into 50 ohms. An Ultraview AD8-SPLIT2 or AD8-SPLIT4 clock/trigger splitter may be used to perform the above splitting.

- Install the N boards in the host systems.   Several boards may fit in some large systems.

- Connect the N separate signal inputs you wish to digitize, sent along matched-length cables, to the ANALOG INPUT+ connectors of the N ULTRADMA2 boards being sequenced.   The ANALOG INPUT- connectors need not be connected, except where the board is an AD8-650X2DMA, in which case this SMA connector is used for the second analog input channel.

- Use an ECL or PECL-connected clock buffer chip (or an Ultraview AD8-SPLIT2/4) to provide N trigger outputs, all matched within 30ps, and sent along matched-length cables, to the trigger input connectors of the N ULTRADMA2 boards being sequenced.

- Set the Board_Number of all N boards to 0, and the Highest_Board to 0 (for all N boards).

- Start all boards, in any sequence using the uvdma_set_go() commands.

- When the trigger signal is seen by all boards, all boards will begin running in step, each filling its RAM concurrently with the others.  If the BUFFER_WRAP bit in the control register is set to 0, sampling will stop when the board (and its lock-step partner boards) has been filled.   If BUFFER_WRAP is instead set to 1, sampling will continue by wrapping around back to the beginning of the 8GB buffer.   This process will go on indefinitely, until stopped by the driver.

- Data may be read out of each board, when fully or partially filled, using read(board_fd, buffer, size) commands, as illustrated in example programs, such as acquire_data.c..

## Data Representation in Host System Memory During A/D Transfers

For model AD8-1250DMA, four sequential A/D values are stored in each longword.  The format below is also the identical to the format in which A/D data is stored to disk in the example

programs in all Ultraview-supplied software packages

| Address | D31..24 (Byte 0) | D2..16 (Byte 1) | D15..8 (Byte 2) | D7..0 (Byte 3) |
| --- | --- | --- | --- | --- |
| BA+$0000000 | Sample 0 | Sample 1 | Sample 2 | Sample 3 |
| BA+$0000004 | Sample 4 | Sample 5 | Sample 6 | Sample 7 |
| BA+$0000008 | Sample 8 | Sample 9 | Sample 10 | Sample 11 |
| BA+$000000C | Sample 12 | Sample 13 | Sample 14 | Sample 15 |
| BA+$0000010 | Sample 16 | Sample 17 | Sample 18 | Sample 19 |
| BA+$0000014 | Sample 20 | Sample 21 | Sample 22 | Sample 23 |
| BA+$0000018 | Sample 24 | Sample 25 | Sample 26 | Sample 27 |
| BA+$000001C | Sample 28 | Sample 29 | Sample 30 | Sample 31 |
| . |  | . |  |  |
| . |  |  |  |  |
| End of array |  |  |  |  |

For model AD8-650X2DMA, two sequential A/D values for each channel are stored in each longword.  The format below is also the identical to the format in which A/D data is stored to disk in the example programs in all Ultraview-supplied software packages

| Address | D31..24 (Byte 0) | D2..16 (Byte 1) | D15..8 (Byte 2) | D7..0 (Byte 3) |
| --- | --- | --- | --- | --- |
| BA+$0000000 | Chan 0 Samp 0 | Chan 1 Samp 0 | Chan 0 Samp 1 | Chan 1 Samp 1 |
| BA+$0000004 | Chan 0 Samp 2 | Chan 1Samp 2 | Chan 0 Samp 3 | Chan 1 Samp 3 |
| BA+$0000008 | Chan 0 Samp 4 | Chan 1 Samp 4 | Chan 0 Samp 5 | Chan 1 Samp 5 |
| BA+$000000C | Chan 0 Samp 6 | Chan 1 Samp 6 | Chan 0 Samp 7 | Chan 1 Samp 7 |
| BA+$0000010 | Chan 0 Samp 8 | Chan 1 Samp 8 | Chan 0 Samp 9 | Chan 1 Samp 9 |
| BA+$0000014 | Chan 0 Samp 10 | Chan 1 Samp 10 | Chan 0 Samp 11 | Chan 1 Samp 11 |
| BA+$0000018 | Chan 0 Samp 12 | Chan 1 Samp 12 | Chan 0 Samp 13 | Chan 1 Samp 13 |
| BA+$000001C | Chan 0 Samp 14 | Chan 1 Samp 14 | Chan 0 Samp 15 | Chan 1 Samp 15 |
| . | Etc. | . |  |  |
| . |  |  |  |  |
| End of array |  |  |  |  |

# Hardware Installation and Setup

Before you begin, be sure your system has at least 512MB of installed RAM, and preferably 2GB or more.  To avoid overheating, the ULTRADMA2 board must be installed in a well-cooled workstation or server chassis, with 64-bit slots, or alternatively in an industrial chassis PC.  Installation in a standard desktop PC or workstation without fans at the front end of the card cage will cause the ULTRADMA2 to overheat, and resulting damage is not covered by warranty.

1.	Use the shutdown command, turn off the system power, and disconnect the power cord.

BEFORE REMOVING THE COMPUTER SYSTEM COVER OR REMOVING ANY BOARD, BE SURE THAT THE POWER TO THE COMPUTER, AS WELL AS TO ALL PERIPHERAL DEVICES IS OFF.  WEAR A STATIC-DISSIPATING WRISTBAND WHICH IS GROUNDED TO THE SYSTEM CHASSIS WHILE OPENING OR WORKING ON YOUR SYSTEM.

2.	Remove any screws that attach the computer system cover and remove the cover.

3.	Remove the filler bracket from the 64-bit PCI bus slot into which you wish to install your ULTRADMA2 board.   Also, permanently remove the filler panel from the 64-bit PCI slot in front of (on the component side of) the ULTRADMA2 board, so as to allow adequate air flow across the front of the ULTRADMA2 board.  If a mixture of 5V and 3.3V slots are available in the system, choose a 64-bit 3.3V slot.   If that is not available, install it in a 64-bit 5V slot.  If installing two ULTRADMA2 boards in a single system, the first should be installed in a 66MHz 64-bit slot, and the second should be installed in a 33MHz 64-bit slot, as 33MHz and 66MHz slots are generally separate PCI buses in the system, allowing higher total DMA throughput from the two ULTRADMA boards.  For details, refer to the hardware manual for your computer system.

4.	Hold the ULTRADMA2 board by the top of the metal PCI bracket and the top midpoint of the board (Do not hold by the DIMMS).  Carefully slide the board in so its PCI bus connector mates with the  PCI bus connector on the motherboard.  Do not apply any force to the DIMM modules on the ULTRADMA2 when sliding the board into the system.   Do not force the board if its DIMM sockets snag on the adjacent slot card guide – instead rock the board very slightly when inserting it.  Be sure that the ULTRADMA2 is seated firmly into the motherboard PCI bus connector.  Check that no other PCI boards have become unseated when the ULTRADMA2 was installed, as motherboards may flex slightly when installing PCI boards.

5.	Plug coaxial I/O cables for the analog inputs and/or outputs into the appropriate SMA connectors on the ULTRADMA2's rear bracket at the rear of the system.  Please refer to the diagram on page 8 of this manual.  Connect the free ends of the analog input cable to the signal  sources to be digitized, and connect the clock input cable to a suitable clock source.

6.	We recommend that ANALOG INPUT(s) initially be connected to signal generator(s) set for a 300mV peak sine wave at approximately 10MHz.   The Clock input (the SMA connector third from the top of the bracket) should be initially be connected to an r.f. signal generator or synthesizer set for a 500millivolt peak-to-peak wave at between 20 MHz and 1250 MHz (800 MHz max for AD8-650DX2DMA, if an external clock is used).   This will allow a quick initial test of the ULTRADMA's functionality using the demonstration software supplied with the board.

6.	Replace the computer system cover, installing all screws you had removed.  Reconnect the power cables to the system and peripherals.

7.	Power up and reboot the system.  The system will then be ready for software installation.

# Software Installation and Setup

## Software Installation for Windows 2000 TM  and XP TM (To be avail. TBD).

The software release for Windows 2000/XP will not be available until approximately 3Q 04.

Before installing the software, be sure the board is installed in the system.  Then, insert the diskette titled AD8-650x2/1250  DRIVER PKG WITH USER DEMO SOFTWARE - FOR  Win2000/XPTM Create a directory for installing the ULTRADMA software, as follows:

C:> mkdir ultrad

Then, copy the entire contents of the diskette to the new directory as follows:

C:> xcopy a:  C:\ultrad /s /e /v

To run the software, please refer to the document Quick Setup for AD8-1250  Under Windows 2000/XPTM

## Software Installation for Solaris 8/9 (Sparc Platform Edition only)TM

This section describes the installation and use of the current version (V1.00B) of the Solaris 8/9 software package for the AD8-1250DMA and AD8-650x2DMA boards.  This software version replaces the legacy software version 1.01 described in Appendix 8.   For all new installations, the current V1.00B version should be installed, and the legacy version 1.01 discussed in appendix 8 should be ignored.   However, as the user interfaces in the new V1.00B driver have changed from those of the older V1.01 driver,  users who have written software for the earlier ADDA12-100DMA, AD8-100DMA and AD8-1250DMA boards may want to continue to use the legacy version of software described in Appendix 8, for maximum compatibility with earlier written software.

Before installing the software, be sure the board is installed in the system.  Versions of Solaris 8 OS prior to the 10/00 release are not supported.

To avoid data overruns, interruptions in data acquisition, and hanging of user programs, permanently turn off all power management options, screen savers, etc.   The system must always remain in full-power mode when running data acquisition boards, and must not be allowed to go into sleep mode, or even screen saving mode when the board is running.

Prior to installing the software, be sure prior versions of Ultraview software (if any) have been uninstalled from the system, using the command # pkgrm UVPCI and/or # pkgrm UVDMA.

To begin the software installation insert the diskette titled AD8-650x2 / 1250 DRIVER PKG WITH USER-DEMO SOFTWARE-FOR SOLARIS 8,9 SPARC Disk 1 of 1 V1.00B 3/22/04.

Log in as root, and type in the following two lines at the prompt (shown here as #):

#  volcheck

#  pkgadd -a none -d /floppy/floppy0/uvdma

You will be shown a list of packages on the diskette (should be UVDMA only) and asked which you wish to install.  You can just take the default (press Return) to install the package.

Next, you will be asked which directory should be the base directory for the package.  Choose /opt/uvdma, or some other place on your system.  Always choose an empty directory, or one that has not yet been created, for installation.

The pkgadd program may issue a warning about /etc/devlink.tab; ignore the warning, as it is just going to modify the file, not overwrite it.   You may also see a question about running programs with superuser permissions – you should just answer yes to this.

Once all the files have been copied to the base directory, some installation scripts are automatically run, giving a usable binary distribution of the package.

You are asked by the post-installation script is whether you wish to recompile the package.  If you have the Gnu C compiler or the SunPro or Sun Studio8 C compiler, you can recompile.  You will be asked where the compiler resides (eg. /opt/gnu/bin/  or /opt/SUNWspro/bin/).   Due to a bug in the installation script, if the programs fail to recompile, continue with the installation, but later follow the instructions at the bottom of this page regarding running get_config, first with a “no” response and then with a typed “yes” response, regarding whether you want to compile.

Just before returning to the prompt, pkgadd will warn you that you need to reboot your system, since a new driver has been added.  Now it is necessary to reboot the system as shown below :

#  /usr/bin/shutdown -y -i6 -g0

When the system reboots, the driver will be installed and operational.   Due to the large 8GB size of the board’s internal RAM, you will generally not need large host system memory buffers to efficiently stored data to disk.   Normally 100 MB of user memory buffer is sufficient.  If you will only need to user memory buffers that are smaller in size than half of the installed RAM in the system, then your driver installation is complete.   If, however, you will need a larger memory buffer (such as if you want to place 3 gigabytes of data into host memory all at one time, and your system has 4 gigabytes of RAM DIMMS installed), then you will need to temporarily become superuser and add the following line to the /etc/system file on your system, and then reboot:

set max_page_get=0x7fffffff     (note that this is 0x7 followed by seven f’s)

After the driver has been installed as described above, it is now possible to immediately run the demonstration programs.  Go to the directory dig_osc, to run an oscilloscope demo.  Connect a signal generator set for a 300 millivolt peak signal at 10 Megahertz to the ANALOG INPUT + connector  (the closest SMA connector to the top of the bracket).    If you are running an AD8-1250DMA board you must connect an RF clock source of between 300MHz and 1GHz,  with a voltage level of 300mV to 900mV peak-to-peak, to the CLOCK INPUT connector.  Run the program digosc if you have either an AD8-650X2DMA board or AD8-1250DMA.   Each time you click on the “Digitize” button on the screen, the ULTRADMA2 board should digitize and display on the screen the data from the signal generator.    In the case of an AD8-650X2DMA, two traces will be displayed, one showing the first channel’s input waveform, and the second trace showing the second channel’s input waveform.   In the case of an AD8-650x2DMA these traces are recorded using the board’s internal clock.   To change to using an external clock, add the statement uvdma_set_ext_clk(dig_osc_fd) just after you open the board, in the program dig_osc_controls_uvdma_stubs.c.   In the case of an AD8-1250DMA, two traces will be displayed, the first with the board’s even samples, and the second with the board’s odd samples for the board’s single input channel.

You may next want to go to the example_programs directory, and run some of the examples, such as acquire_data, acquire_data2, or pre_post_trigger which store A/D data to disk.  These examples, which can be invoked with command line arguments that specify the amount of data to store, etc, are described in the next chapter.

These example programs are clearly commented, and are a good starting point for users who are developing their own code.  They can easily be modified and recompiled by suitably modifying the makefile and then typing “make”.   If you have trouble recompiling the programs (a known bug in the installation procedure), merely run “getconfig” in the /opt/uvdma directory, answer “no” when it asks if you want to recompile, and then run “getconfig” again, this time answering “yes” (you need to actually type “yes”, rather than merely hitting return in response to the “yes” default response).  Then you should be able to recompile user example programs.   This minor bug will be fixed on the next release.

The pamphlet “Misc Reference Manual Pages”, included with your board, is also helpful in understanding the usage of the various library calls used in setting up board parameters, starting and stopping the board, etc.

## Running the Example Programs Under Solaris 8 or Solaris 9TM

There are two directories with both source and executables for various example programs, which can immediately be run to demonstrate the use of the board, and which form an excellent basis for developing your own custom software for the board.  Full source and makefiles are provided, allowing for easy modification and recompilation.   To run the AD8-1250 board, connect a clock to the SMA input labeled CLK.   To run the AD8-650x2DMA board, you can use the internal clock, or an external clock.  The external clock, if used, must be connect to the CLK input and must have an amplitude of between 0.2VRMS and 0.6VRMS, into 50 ohms.   The clock is a.c. coupled, so any d.c. voltage is unimportant on the clock.  Allowable clock frequencies are from 20MHz to 1.25GHz for an AD-1250DMA or 20MHz to 800MHz for an AD8-650x2DMA board.   Then connect a signal source (+/-350mV peak full scale into 50 ohms) of a few MHz or so to the SMA input labeled INP.    For the AD8-650x2 board, connect two signals to the two input channels.  Do not exceed +/-0.8V into these inputs, or the board may be damaged.   To quickly test the  board, go the directory /opt/uvdma/dig_osc and run the program "digosc".   Click the "digitize" button, and you should see a few cycles of your input waveform, each time you press the "digitize" button.  .   In the case of an AD8-650x2DMA these traces are recorded by default using the board’s internal clock.   To change to using an external clock, add the statement uvdma_set_ext_clk(dig_osc_fd) after the board is opened, in dig_osc_controls_uvdma_stubs.c. If you do not see a waveform, be sure that the system’s environment is correctly set.  The lines present in /opt/uvpci/environment/cshrc should be contained in your .cshrc file.  Once these lines are copied into your .cshrc, try invoking a new C shell and rerunning digosc.   If a .cshrc file does not exist in your system, you can make one by merely copying /opt/uvdma/environment/cshrc to /.cshrc, as shown below:

# cd /opt/uvdma/environment

# cp cshrc /.cshrc

The example software for running the board includes user programs “acquire_data.c”, acquire_data2.c and pre_post_trigger.c.

### acquire_data.c  (Acquire analog data and store it in board’s 8GB buffer), and then store the buffer’s data to disk.

The program acquire_data.c acquires a selectable number of 512KB blocks of data (up to 16,384 into the board's 8GB of internal memory, after which the board will stop acquiring and store the data to a file on disk).   Number of blocks to acquire, disk file name, internal vs external clock and sampling rate divider (AD8-650x2DMA only) may all be specified.

The program acquire_data.c .can be used to acquire any number of 512K blocks of A/D data, up to a total of 8GB, to the board’s on-board RAM, followed by an automatic storage of the board’s buffer to a disk file.    The usage of acquire_data.c is as follows:

# acquire_data  /dev/uvdma/0 1000 ad.dat

Here, the first AD8-1250 or AD8-650x2DMA board is told to acquire 1000 blocks (1000 x  512KB) of A/D data, and store it to disk in a file named ad.dat.

For example, to acquire A/D data to fill the entire 8GB (16384 x 512KB) of on-board RAM, and then store it to a disk file named “ad.dat”, type:

# acquire_data  /dev/uvdma/0  16384  ad.dat

The program will acquire 16384 blocks (8GB) of A/D data at the sample rate of the supplied external clock, indicate progress along the way, and then stop approximately 8 seconds later, (assuming a 1GHz clock frequency for an AD8-1250DMA), and begin storing the 8GB of data to the file it will name as ad.dat.   If you wish to acquire fewer blocks, specify a smaller block count.

By editing the appropriate lines in acquire_data.c, it is possible to specify external clock on an AD8-650x2DMA , and specify a divide ratio other than the default of 1.  The divide ratio is just the ratio by which the external clock or internal 640MHz is divided, to obtain the sampling rate (default is a divide ratio of 1).    For example, a divide ratio of 4 causes the AD8-650x2 board to sample at ¼ the 640MHz internal clock frequency, resulting in a sampling rate of 160MSPS.   Or, if an external clock is specified, it will sample at ¼ of this external clock frequency.

### acquire_data2.c  (Acquire analog data and store it in board’s 8GB buffer), with concurrent dumping of the buffer’s data to disk.

The program acquire_data2.c is a similar program to acquire_data.c, but begins storing data from the buffer to disk as soon as data starts coming into the buffer, thereby improving throughput.  Also, it allows buffer wraparound, allowing storage of larger amounts of data than will fit into the memory buffer.  However, in cases where the desired file size (size of data file stored to disk) exceeds the size of the 8GB buffer, acquisition speed is greatly limited, as the average acquisition rate must not exceed the rate at which data can be continuously stored on the disk – typically only 40 to 60MB/sec.   The board’s 8GB RAM is used as a cyclic storage buffer.    As the disk storage is concurrent with the signal acquisition, and as data is being emptied to disk from one end of the buffer, while being filled from the A/D,  it is possible to actually store more than the 8GB of data allowed by acquire_data.c.  For example, at A/D sampling rates slower than approximately 50 MB/sec (the disk throughput on some of the faster Suns), one can store almost indefinitely, limited only by the capacity of the file system size on the disk.

The program acquire_data2.c .can be used to acquire any number of 512K blocks of A/D data, up to a total of 8GB (even more than this at slower acquisition speeds, at which the disk can partially or fully keep up with the data input rate). The usage of acquire_data2.c is as follows:

# acquire_data2  /dev/uvdma/0 1000  ad.dat

Here, the first AD8-1250 or AD8-650x2DMA board is told to acquire 1000 blocks (1000 x  512KB) of A/D data, and store it to disk in a file named ad.dat.

For example, to acquire A/D data to fill the entire 8GB (16384 x 512KB) of on-board RAM, type:

# acquire_data2  /dev/uvdma/0  16384  ad.dat

The program will acquire 16384 blocks (8GB) of A/D data at the sample rate of the supplied external clock, indicate progress along the way, and then stop approximately 8 seconds later, (assuming a 1GHz clock frequency for an AD8-1250DMA).  Storage of the 8GB of data to a file named ad.dat begins almost immediately after starting the acquisition and acquiring the first few blocks of data.   If you wish to acquire fewer blocks or more blocks than 16384, specify a smaller (or larger, if your disk can keep up) block count.

By editing the appropriate lines in acquire_data2.c, it is possible to specify external clock on an AD8-650x2DMA , and specify a divide ratio other than the default of 1.  The divide ratio is just the ratio by which the external clock or internal 640MHz is divided, to obtain the sampling rate (default is a divide ratio of 1).    For example, a divide ratio of 4 causes the AD8-650x2 board to sample at ¼ the 640MHz internal clock frequency, resulting in a sampling rate of 160MSPS.   Or, if an external clock is specified, it will sample at ¼ of this external clock frequency.

### pre_post_trigger.c  (Acquire data continuously into board’s buffer, stop acquiring after user “trigger” and store data pre and post trigger data.

The program pre_post_trigger.c is a very powerful program which allows the board to continuously acquire data to its large 8GB cyclic buffer and then, upon receiving a user signal, to store only a prescribed further amount of data, thereby allowing user to capture the N blocks acquired before the trigger as well as the M blocks after the trigger.

The program pre_post_trigger.c .can be used to save a specified number of 512KB blocks of A/D data leading up to a user trigger, and then continue to acquire a specified number of blocks of data after the trigger.   The data from these two adjacent time periods will appear in two separate files, which can have a collective size of up to 8GB.  Usage of pre_post_trigger.c is as follows:

# pre_post_trigger  /dev/uvdma/0  1000  pre.dat  2000 post.dat

Here, the first AD8-1250 or AD8-650x2 board is told to run continuously (storing data continuously in the boards 8GB cyclic buffer), and when the user hits the return key on the keyboard, to record 2000 more blocks.  The 1000 blocks recorded before the keyboard “trigger” are stored in a file named “pre.dat”, and the 2000 blocks recorded after the trigger are in a file named “post.dat”.

For example, to acquire A/D data to fill the entire 8GB (16384 x 512KB) of on-board RAM, and save the 4GB before the trigger and the 4GB after the trigger, type:

# pre_post_trigger  /dev/uvdma/0  8192  pre.dat 8192 post.dat.

By editing the appropriate lines in pre_post_trigger.c, it is possible to specify external clock on an AD8-650x2DMA , and specify a divide ratio other than the default of 1.  The divide ratio is just the ratio by which the external clock or internal 640MHz is divided, to obtain the sampling rate (default is a divide ratio of 1).    For example, a divide ratio of 4 causes the AD8-650x2 board to sample at ¼ the 640MHz internal clock frequency, resulting in a sampling rate of 160MSPS.   Or, if an external clock is specified, it will sample at ¼ of this external clock frequency.

### Two-board concurrent operation using acquire_data.c

Two channels may be simultaneously acquired in two-board AD8-1250DMA installations (four channels for two-board AD8-650X2DMA installations), in which a common clock and trigger are sent to two boards in the same system.   If these boards are to acquire in lock-step, a common trigger and clock must be used, and the user program must be recompiled to wait for this external trigger, (eg. by uncommenting the “uvdma_set_use_ext_trig(board_fd);” statement in acquire_data.c).   Then each board will wait until its trigger goes high before aquiring data, and the two board can be set to acquire time-aligned data, by doing the following:

- A common trigger is connected to both boards, using a resistive (d.c) splitter that has better than 30ps delay matching, or by using an Ultraview AD8-SPLIT2/4.   The trigger must be a positive going edge with amplitude between 1 and 2 Volts, and rise time under 2ns.   The trigger signal, once it occurs, must remain high for at least 2ms (assuming a 300MHz input clock), or 1ms for a 600MHz input clock, etc.   If the trigger amplitude or duration is incorrect, or if there is excessive skew between the clock or trigger entering the two boards, the two waveforms displayed will be misaligned.

- A common clock is connected to both boards, using a splitter that has better than 30ps delay matching, or by using an Ultraview AD8-SPLIT2/4.  The clock input to the splitter must have an amplitude between 500mV and 1.5 Volts peak-to-peak into 50 ohms.   The trigger in (1) above must be synchronous with this clock, to prevent a possible board-to-board skew of up to 16 clock periods.

- Input signals (+/-350mV peak for full scale reading) for the two channels to be acquired should be connected to the “+” inputs of each of the two boards.  The “-“ inputs may be left unconnected for AD8-1250DMA boards.

- The trigger signal must initially be low before acquisition is started.

- In one window, type “acquire_data /dev/uvdma/0  16384  ad0.dat”.   In a second window, type “acquire_data  /dev/uvdma/1  ad1.dat”   Note that the “16384” in this example will cause each board to acquire an entire 8GB (16384 x 512KB).  Smaller numbers will cause fewer blocks to be acquired.  Neither board will start acquiring until the trigger occurs, at which time both will acquire in lock step.   The files ad0.dat and ad1.dat will contain time aligned data recorded by the two respective boards.

- The trigger signal must not go high (active) until 100ms after the second board has been set to go.    Once the trigger goes high, both boards will acquire concurrently, and will acquire the two channels of data.

- Once both “acquire_data” commands have completed (new prompts appear in each window), then each board may be separately dumped to disk, using the respective dump_board commands, as shown below.

The files file0 and file1 would then contain the two channels of time-aligned information.

### digosc (digital oscilloscope)

The first program to run is called “digosc”, a crude digital waveform display of the A/D signal(s)  being inputted to the board.  This program is in the directory /opt/uvdma/dig_osc.  The programs digosc_controls_uvdma_stubs.c and dig_osc_controls_ui.c are the source routines.  Run the program digosc by typing digosc at the prompt.  When you then get a window with an oscilloscope display, hit the digitize button, which will result in the display of the waveforms from your signal generator.   For an AD8-650x2DMA board, the two waveforms will be those seen at the two inputs of the board.  In the case of an AD8-650x2DMA these traces are recorded using the board’s internal clock.   To change to using an external clock, add the statement uvdma_set_ext_clk(dig_osc_fd) just after you open the board, in the program dig_osc_controls_uvdma_stubs.c.  For an AD8-1250DMA (which always runs from only an external clock) the first waveform will be of the even samples on the board’s single input, and the second waveform will be of the odd samples.

If you do not see waveforms, be sure that the system’s environment is correctly set.  The lines present in /opt/uvdma/environment/cshrc should be contained in your .cshrc file.  Once these lines are copied into your .cshrc, try invoking a new C shell and rerunning digosc.   Other Xview-based programs that display waveforms from the board may be made by editing the source files for this program.   These programs may be recompiled when using Solaris 8.   However, the Xview libraries needed for recompilation are absent under Solaris 9.   These .h files may, if the machine’s binary code license permits, however, be copied from the /usr/openwin/include/xview directory of a machine running Solaris 8, to a new directory in the same path on a machine running Solaris 9, and the digital oscilloscope source programs in this release will then compile.

The program digosc can be recompiled to use an external clock or different divide ratio by editing the correspondingly commented lines in dig_osc_controls_uvdma_stubs.c, and recompiling.

Another useful program is acquire_data.c, in directory /opt/uvdma/example_programs.

### TBD - digosc2brd (digital oscilloscope for two-board AD8-1250DMA ganged installations)

A simple two-channel oscilloscope program, called “digosc2brd”, will be available for two-board installations, in which a common clock and trigger are sent to two boards in the same system, enabling two channels to be concurrently acquired.  The program digosc2brd when completed, will be in directory /opt/uvdma/dig_osc.  Programs digosc_controls_uvdma_stubs_2brd.c and dig_osc_controls_ui.c are the source files.  Run the program by typing digosc2brd.  When you get a window with an oscilloscope display, hit the digitize button, which will result in the display of the two waveforms from your signal generators.  Adjust your signal generator’s frequency and amplitude to display several cycles of the waveforms.   Note that there is no vertical offset between the two waveforms – if the two channels are fed with identical analog signals, the two waveforms will overlap.

For digosc2brd to correctly display two time aligned waveforms, be sure that 1) A common trigger is connected to both boards, using a splitter that has better than 30ps delay matching, 2) A common clock is connected to both boards, using a splitter that has better than 30ps delay matching, and 3) The trigger  signal to the splitter must have an amplitude of between 1V and 2V and a rise time of less than 2ns, 4) The trigger signal does not go high (active) until after the digitize button has been clicked on, and 5) The trigger signal, once it occurs, remains high for at least 2ms (assuming a 300MHz input clock), or 1ms for a 600MHz input clock, etc.   If the trigger amplitude or duration is incorrect, or if there is excessive skew between the clock or trigger entering the two boards, the two waveforms displayed will be misaligned.

# APPENDIX 1 – Installing AD8-SPLIT2/4 Clock/Trigger Splitter

The AD8-SPLIT2 or AD8-SPLIT4 are optional clock/trigger splitter boards that can, from a single clock and optional trigger input, generate as many as four matched clock and trigger outputs for concurrently triggering and running up to four AD8-1250DMA or AD8-650X2DMA boards.   Powered by a “wall-cube” power supply (included), the AD8-SPLIT2/4 boards are connected via short SMA-to-SMA cables to the clock and trigger inputs on the AD8-1250DMA boards that are to be run concurrently

To install the AD8-SPLIT2/4 board, make the following cable connections, as shown in figure 8.1:

- Connect the TRIG0 (and TRIG1, 2 and 3, if used) outputs of the AD8-SPLIT2/4 to the TRIG inputs on the AD8-1250 boards you wish to use.   Be sure that the cables used are as short as possible (less than 1 foot recommended) and matched to within ¼”.   Also, check that all SMA cable connectors are firmly hand-tightened onto their respective jacks.

- Connect the CLK0 (and CLK1, 2 and 3, if used) outputs of the AD8-SPLIT2/4 to the CLK inputs on the AD8-1250 boards you wish to use. Be sure the cables used are short and matched to within ¼”.  Check that all SMA cable connectors are firmly hand-tightened.

- Connect the input clock source (0dBm amplitude) to the AD8-SPLIT2/4’s “CLOCK IN” jack.

- Connect the optional TTL trigger input source to the “TTL TRIG INPUT” jack on the AD8-SPLIT2/4.   This TTL-only input must never be driven with any signal source that is outside the 0 to +4V TTL voltage range.   A TTL 0 is recognized when the TTL TRIG INPUT signal is below  0.8V, and a TTL 1 is recognized when the input is above 2.0V.

- Plug the +5V adapter’s cord into the AD8-SPLIT2/4’s “DC5V IN” jack.   Only the included 5V regulated DC (center + terminal) adapter should be used with the AD8-SPLIT2/4.

- Plug the +5V AC adapter into a standard 120VAC outlet.

After installing the AD8-SPLIT2/4 board, please refer to the appropriate sections in this manual for tips on operating two boards concurrently.

Figure 7-1.   Connection of AD8-SPLIT2/4 to two AD8-1250DMA or AD8-650X2DMA boards installed in a Sun host system.   The left two thick black cables are the TRIG0 and TRIG1 outputs, and the middle two thick black cables are the CLK0 and CLK1 outputs.   The top black cable is from the input clock source, and the bottom black cable is from the TTL trigger source.   The white cable is the +5V DC input from the included wall-cube adapter.  The rightmost two thick black cables connected directly to the AD8-1250DMA boards are the signal inputs for the two boards.   In the case of AD8-650DMA boards, the unused SMA connectors shown would be connected to the second analog input sources.

# APPENDIX 2 – Installing the legacy Solaris software package

## Software Installation for superseded 12/03/03 version (V1.01) of software package for Solaris 8/9 (Sparc Platform Edition only)TM

This section describes the installation and use of a legacy version of the Solaris 8/9 software package for the AD8-1250DMA and AD8-650x2DMA boards.  This software version has been replaced by the V1.00B software described earlier in the manual.  For new installations, this old 12/03/03 version should not be used, and this appendix should be ignored.   However, as the user interfaces to the new V1.00B driver have changed from those of the older V1.01 driver,  users who have written software for the earlier ADDA12-100DMA and AD8-100DMA boards may want to continue to use this legacy version of software, for maximum compatibility with earlier boards.

Before installing the software, be sure the board is installed in the system.  Solaris 8 10/00 release (or later), or Solaris 9 are the preferred OS’s, as they allow DMA to a user memory region of up to 3.5 GB in length (if used in a system with 4 GB of installed RAM) .   Versions of Solaris 8 prior to the 10/00 release must be avoided, as they are not supported for these boards.

To avoid data overruns, interruptions in data acquisition, and hanging of user programs, permanently turn off all power management options, screen savers, etc.   The system must always remain in full-power mode when running the data acquisition board, and must not be allowed to go into sleep mode, or even screen saving mode when the board is running.

To begin the software installation for this obsolete package, insert the diskette titled AD8-650x2/1250 DRIVER PKG WITH USER-DEMO SOFTWARE-FOR SOLARIS 8,9 SPARC V1.01 12/03/03.  Log in as root, and type in the following two lines at the prompt (shown here as #):

#  volcheck

#  pkgadd -a none -d /floppy/floppy0/uvpci

You will be shown a list of packages on the diskette (should be Ultrad only) and asked which you wish to install.  You can just take the default (press Return) to install the package.

Next, the installation script will ask you which directory should be the base directory for the package.  You can choose /opt/uvpci, or choose some other place on your system.  You should choose an empty directory for installation; extra files or directories might cause problems.

The pkgadd program may issue a warning about /etc/devlink.tab; ignore the warning, as it is just going to modify the file, not overwrite it.  You may also see a question about running programs with superuser permissions – you should just answer yes to this.

Once all the files have been copied to the base directory, some installation scripts are automatically run, giving a usable binary distribution of the package.

One of the questions asked by the post-installation script is whether you wish to recompile the package.  If you have the Gnu C compiler or the SunPro/Forte C compilers, you can recompile.  You will be asked where the compiler resides (eg. /opt/gnu/bin/  or /opt/SUNWspro/bin/).

Just before returning to the prompt, pkgadd will warn you that you need to reboot your system, since a new driver has been added.  Now it is necessary to reboot the system as shown below :

#  /usr/bin/shutdown -y -i6 -g0

When the system reboots, the driver will be operational.   Due to the large 8GB size of the board’s internal RAM, you will generally not need large host system memory buffers to efficiently stored data to disk.   Normally 100MB of user memory buffer is sufficient.  If you will only need to user memory buffers that are smaller in size than half of the installed RAM in the system, then your driver installation is complete.   If, however, you will need a larger memory buffer (such as if you want to place 3 gigabytes of data , and your system has 4 gigabytes of RAM DIMMS installed), then you will need to temporarily become superuser and add the following line to the /etc/system file on your system, and then reboot:

set max_page_get=0x7fffffff     (note that this is 0x7 followed by seven f’s)

Caution must be used once this has been done, as it will potentially allow you to allocate a buffer so large that no user memory might be available for other system activities, causing the system to hang.   For this reason, it is essential to leave at least 1/2GB of free memory for other operations.   If your system has 2GB of memory, do not ask for more than 1.5GB (3000 blocks) when running programs.   For example, when running the example program acquire_dma_data, the following is the largest fast_acquire recommended in that system:

acquire_dma_data –s2 –b3000 –fsam.dat

After the driver has been installed as described above, you may run the demonstration programs.  Go to the directory bw_dig_osc, to run an oscilloscope demo.  Connect a signal generator set for a 300 millivolt peak signal at 10 Megahertz to the ANALOG INPUT + connector  (the closest SMA connector to the top of the bracket).    Also, connect an RF clock source of between 300MHz and 1GHz,  with a voltage level of 300mV to 900mV peak-to-peak, to the CLOCK INPUT connector.  Run the program digosc100e if you have an AD8-1250DMA, or the program digosc650x2, if you have an AD8-650X2DMA board.   Each time you click on the “Digitize” button on the screen, the ULTRADMA2 board will digitize and display on the screen the data from the signal generator.

You may next want to go to the example_programs directory, and run the examples, such as acquire_dma_data, or fill_board (or fill_board650x2 in the case of an AD8-650x2 board) followed by dump_board which store A/D data to disk  These examples, which are invoked with command line arguments that specify various parameters, are described later.

The above example programs are clearly commented, and are a good starting point for users who are developing their own code.  They can easily be modified and recompiled by suitably modifying the makefile and then typing “make”.

## Running the Example Programs in the legacy (superseded) 12/03/03 V1.01 software package  Under Solaris 8 or Solaris 9TM

There are two directories with both source and executables for various example programs, which can immediately be run to demonstrate the use of the board, and which form an excellent basis for developing your own custom software for the board.  Full source and makefiles are provided, allowing for easy modification and recompilation.   To run the AD8-1250 board, connect a clock to the SMA input labeled CLK.   To run the AD8-650x2DMA board, you can use the internal clock, or an external clock.  The external clock, if used, must have an amplitude of between 0.2VRMS and 0.6VRMS, into 50 ohms.   The clock is a.c. coupled, so any d.c. voltage is unimportant on the clock.  Allowable clock frequencies are from 20MHz to 1.25GHz.   Then connect a signal source (+/-350mV peak full scale into 50 ohms) of a few MHz or so to the SMA input labeled INP.     Do not exceed +/-0.8V into this input, or the board may be damaged.   To quickly test the AD8-1250  board, go to /opt/ulprod and run the program "digosc100e (or to test the AD8-650x2DMA board, instead run the digosc650x2 program)".   Click "digitize” and you should see a few cycles of your input waveform, each time you press "digitize”.   If you do not see a waveform, be sure that the system’s environment is correctly set.  The lines present in /opt/uvpci/environment/cshrc should be contained in your .cshrc file.  Once these lines are copied into your .cshrc, try invoking a new C shell and rerunning digosc.   If a .cshrc file does not exist in your system, you can make one by merely copying /opt/uvpci/environment/cshrc to /.cshrc, as shown below:

# cd /opt/uvpci/environment

# cp cshrc /.cshrc

The example software for running the board includes user programs “acquire_dma_data.c”, "fill_board.c", “fill_board_650x2.c”. "dump_board.c".   fill_board.c acquires a selectable number of 512KB blocks of data into the board's 8GB of internal memory, after which the board will stop acquiring.   fill_board650x2.c is a similar program for the AD8-650x2DMA, which also allows external vs internal clock and the sampling rate to be selected, but is otherwise identical to fill_board.c.     dump_board.c will then transfer any selected portions of this acquired data to disk files.   Alternatively, acquire_dma_data.c continuously acquires up to 8GB of data at up to 1250 MSPS, while concurrently storing this data to disk, at the lower rate at which the disk can accept the data.  The board’s 8GB RAM guarantees that no overruns will occur due to the lower disk throughput, when acquiring up to 8GB of continuous data.

### fill_board  and  fill_board650x2  (Acquire analog data and store it in board’s 8GB buffer)

For the AD8-1250DMA board, fill_board.c .can be used to acquire any number of 512K blocks of A/D data (up to 8GB total), to the board’s on-board RAM.    Usage of fill_board is as follows:

# fill_board -c<block count>

Here, block count is the number of 512KB blocks of A/D data you wish to acquire to on-board RAM.

For example, to acquire A/D data to fill the entire 8GB (16384 x 512KB) of on-board RAM, type:

# fill_board -c16384

The program will acquire 16384 blocks (8GB) of A/D data at the sample rate of the supplied external clock, indicate progress along the way, and then end approximately 8 seconds later, assuming a 1GHz clock frequency.   If you wish to acquire fewer blocks, specify a smaller block count.   For example, to only acquire 32MB (64 blocks), you would type "fill_board -c64".

For the AD8-650x2DMA board, use fill_board650x2.c instead of fill_board.c, as it allows you to specify the clock divide ratio and external vs internal clock.  Usage of fill_board650x2 is:

# fill_board650x2 -c<block count> -p<divide ratio> -e

Here, divide ratio is just the ratio by which the external clock or internal 640MHz is divided, to obtain the sampling rate (default is a divide ratio of 1).   The argument –e, if present specifies external clock rather than the default internal clock mode.   For example, “fill_board650x2, with no arguments, just samples using the internal 640MHz timebase, and therefore samples at 640MSPS.   Or, “fill_board650x2 –e” samples at the external clock rate, instead of using the internal clock.   Alternatively, “fill_board650x2 –p4” samples at ¼ the 640MHz internal clock frequency, resulting in a sampling rate of 160MSPS.   Finally, “fill_board650x2 –p4 –e” would result in sampling at ¼ the frequency of the applied external clock.

Programs fill_board.c and fill_board650x2.c merely acquire data to the on-board RAM – they do not transfer data to system RAM or to disk.   Program dump_board.c, described next, does that.

### dump_board (dump analog data to disk from board’s 8GB buffer)

After filling the board's memory, using the fill_board or fill_board650x2 commands described just above, the next step is to transfer all, or selected parts, of this acquired data to a file, which can be accomplished with the "dump_board" command.    The usage for dump_board is as follows:

# dump_board -c<block count> -s<starting address in board RAM> -f<output file>

Here, <block count> is the number of 512KB blocks to transfer from the board's local RAM to the file, <starting address in board RAM> is the starting address in multiples of 256 Bytes, in the board's local RAM, and <output file> is the name of the file to which you would like to transfer the data.   For example, to transfer 32MB of data (64 blocks), starting at location 65536 (which is 256 x 256) in the board's local RAM, to a file named "/export/home/file1" you would type:

# dump_board -c64 -s256 -f/export/home/file1

You may need to wait many seconds for this command to finish, as the disk data storage rate is the limiting factor.    The dump_board command can dump an entire 8GB of board data, but not in one run, due to the fact that the present version DMAs the entire transfer size into a system RAM buffer, which is usually only a few hundred megabytes.    So, to transfer all 8GB, you would need multiple runs of dump_board, such as "dump_board -c512 -s0 -f/export/home/segment0" followed by "dump_board -c512 -s1048576 -f/export/home/segment1", followed by "dump_board -c512 -s2097152 -f/export/home/segment2", etc, until all 32 of the 256MB transfers have been done.   It is easy to modify dump_board.c to do these multiple transfers as part of a single run of the program.  Or, alternatively, you can use the program acquire_dma_data.c, described next, to store up to 8GB of data continuously with a single command.

### Two-board concurrent operation using fill_board and dump_board

Two channels may be simultaneously acquired in two-board AD8-1250DMA installations (four channels for two-board AD8-650X2DMA installations), in which a common clock and trigger are sent to two boards in the same system.   If these boards are to acquire in lock-step, a common trigger and clock must be used, and the user program must be recompiled to wait for this external trigger, (eg. by uncommenting the “uvpci_set_use_ext_trig(board_fd);” statement in fill_board.c).   Then each board will wait until its trigger goes high before aquiring data, and the two board can be set to acquire time-aligned data, by doing the following:

- A common trigger is connected to both boards, using a resistive (d.c) splitter that has better than 30ps delay matching, or by using an Ultraview AD8-SPLIT2/4.   The trigger must be a positive going edge with amplitude between 1 and 2 Volts, and rise time under 2ns.   The trigger signal, once it occurs, must remain high for at least 2ms (assuming a 300MHz input clock), or 1ms for a 600MHz input clock, etc.   If the trigger amplitude or duration is incorrect, or if there is excessive skew between the clock or trigger entering the two boards, the two waveforms displayed will be misaligned.

- A common clock is connected to both boards, using a splitter that has better than 30ps delay matching, or by using an Ultraview AD8-SPLIT2/4.  The clock input to the splitter must have an amplitude between 500mV and 1.5 Volts peak-to-peak into 50 ohms.   The trigger in (1) above must be synchronous with this clock, to prevent a possible board-to-board skew of up to 16 clock periods.

- Input signals (+/-350mV peak for full scale reading) for the two channels to be acquired should be connected to the “+” inputs of each of the two boards.  The “-“ inputs may be left unconnected for AD8-1250DMA boards.

- The trigger signal must initially be low before acquisition is started.

- In one window, type “fill_board -c16384 –d/dev/uvpci/0”.   In a second window, type “fill_board -c16384 –d/dev/uvpci/1”   Note that the “–c16384” in this example will cause each board to acquire an entire 8GB (16384 512Kbyte blocks).  Smaller numbers will cause fewer blocks to be acquired.  Neither board will start acquiring until the trigger occurs, at which time both will acquire in lock step.

- The trigger signal must not go high (active) until 100ms after the second board has been set to go.    Once the trigger goes high, both boards will acquire concurrently, and will acquire the two channels of data.

- Once both “fill_board” commands have completed (new prompts appear in each window), then each board may be separately dumped to disk, using the respective dump_board commands, as shown below.

- To dump, for example 32 MB of the first board’s data,  starting at location 0 (which is 0 x 256) in the first board's local RAM, to a file named "/export/home/file0" you would type:

# dump_board -c64 –s0 –d/dev/uvpci/0 -f/export/home/file0

To dump the same portion of data in the second board, to a second file, /export/home/file1, you would type:

# dump_board -c64 –s0 –d/dev/uvpci/1 -f/export/home/file1

The file file0 and file1 would then contain the two channels of time-aligned information.

### acquire_dma_data (Acquire data to disk file of any length)

The program acquire_dma_data.c is similar to a combination of fill_board.c with a concurrent running of dump_board.c, allowing the board to acquire many megabytes (or even up to 8GB) of data and store it in this memory buffer.  However, unlike fill_board.c, acquire_dma_data.c begins storing data from the buffer to disk as soon as data starts coming into the buffer.  Also, it allows buffer wraparound, allowing storage of larger amounts of data than will fit into the memory buffer.  However, in cases where the desired file size (size of data file stored to disk) exceeds the size of the 8GB buffer, acquisition speed is greatly limited, as the average acquisition rate must not exceed the rate at which data can be continuously stored on the disk – typically only 40MB/sec.

The program may be invoked as in the following example:

#  acquire_dma_data  -b60  -c700 –fhello.dat

where..

-b60  in this example instructs the board to use a memory buffer of 60 512KB blocks (approximately 30MB, or 30 million 8-bit samples),

-c700 in this example instructs the board to store a total of 700 512KB blocks (approximately 350MB) of data to disk.

-fhello.dat specifies that the data is to be stored to a file named “hello.dat”

IMPORTANT:  When running acquire_dma_data.c the following limitation applies:

Do not specify a number of blocks more than approximately half of the amount of installed RAM in your system (unless you have added the line “set max_page_get=0x7fffffff” in /etc/system), and in any event not more than the amount of installed DIMM RAM minus approximately 0.5GB.

### digosc100e (digital oscilloscope, for model AD8-1250DMA only)

The first program to run is called “digosc100e” (in the directory /opt/uvpci/bw_dig_osc), a simple waveform display of the signal input to the board.  Programs digosc_controls_uvpci_stubs.c and dig_osc_controls_ui.c are the source routines.  Run the executable by typing digosc100e at the prompt.  When you get a window with an oscilloscope display, hit the digitize button, which will result in the display of the waveform from your signal generator.

If you do not see a waveform, be sure that the system’s environment is correctly set.  The lines present in /opt/uvpci/environment/cshrc should be contained in your .cshrc file.  Once these lines are copied into your .cshrc, try invoking a new C shell and rerunning digosc.   Other Xview-based programs that display waveforms from the board may be made by editing the source files for this program.   These programs may be recompiled when using Solaris 8.   However, the Xview libraries needed for recompilation are absent under Solaris 9.

Another useful program is acquire_dma_data.c, in directory /opt/uvpci/example_programs.

### digosc650x2 (digital oscilloscope, for model AD8-650X2DMA only)

The first program to run is called “digosc650x2”, a crude digital waveform display of the signals that is being inputted to the board’s two A/D channels.  This program is in the directory /opt/uvpci/bw_dig_osc.  The programs digosc_controls_uvpci_stubs650x2.c and dig_osc_controls_ui.c are the source routines.  Run the program digosc by typing digosc650x2 at the prompt.  When you then get a window with an oscilloscope display, hit the digitize button, which will result in the display of the two waveforms from your signal generators.   You do not need to connect a clock to the AD8-650x2DMA board, as digosc650x2 defaults to using the board’s internal clock and sampling both channels at 640MSPS simultaneously.

If you do not see waveforms, be sure that the system’s environment is correctly set.  The lines present in /opt/uvpci/environment/cshrc should be contained in your .cshrc file.  Once these lines are copied into your .cshrc, try invoking a new C shell and rerunning digosc.   Other Xview-based programs that display waveforms from the board may be made by editing the source files for this program.   These programs may be recompiled when using Solaris 8.   However, the Xview libraries needed for recompilation are absent under Solaris 9.

Program digosc650x2 can be recompiled to use an external clock, or a different divide ratio by editing the appropriately labeled lines in dig_osc_controls_uvpci_stubs650x2.c, and recompiling.

Another useful program is acquire_dma_data.c, in directory /opt/uvpci/example_programs.

### digosc2brd (digital oscilloscope for two-board AD8-1250DMA ganged installations)

A simple two-channel oscilloscope program, called “digosc2brd”, is available for two-board installations, in which a common clock and trigger are sent to two boards in the same system, enabling two channels to be concurrently acquired.  The program digosc2brd is in directory /opt/uvpci/bw_dig_osc.  Programs digosc_controls_uvpci_stubs_2brd.c and dig_osc_controls_ui.c are the source files.  Run the program by typing digosc2brd.  When you get a window with an oscilloscope display, hit the digitize button, which will result in the display of the two waveforms from your signal generators.  Adjust your signal generator’s frequency and amplitude to display several cycles of the waveforms.   Note that there is no vertical offset between the two waveforms – if the two channels are fed with identical analog signals, the two waveforms will overlap.

For digosc2brd to correctly display two time aligned waveforms, be sure that 1) A common trigger is connected to both boards, using a splitter that has better than 30ps delay matching, 2) A common clock is connected to both boards, using a splitter that has better than 30ps delay matching, and 3) The trigger  signal to the splitter must have an amplitude of between 1V and 2V and a rise time of less than 2ns, 4) The trigger signal does not go high (active) until after the digitize button has been clicked on, and 5) The trigger signal, once it occurs, remains high for at least 2ms (assuming a 300MHz input clock), or 1ms for a 600MHz input clock, etc.   If the trigger amplitude or duration is incorrect, or if there is excessive skew between the clock or trigger entering the two boards, the two waveforms displayed will be misaligned.